## Sheet1
SRI-ENACT intervention technology | Code | Functionality level
Honeywell Home RTH5160D1003 Simple Display Non-Programmable Thermostat | H-1d | Level 1
| H-4 | Level 1
| C-1d | Level 1
| C-4 | Level 1
| MC-3 | Level 1
Google Nest Learning Thermostat (single thermostat) | H-1a | Level 1
| H-3 | Level 2
| H-4 | Level 3
| C-1a | Level 1
| C-3 | Level 2
| C-4 | Level 2
| DHW-1b | Level 1
| E-12 | Level 4
| MC-9 | Level 1
Google Nest Learning Thermostat (multiple thermostats) | H-1a | Level 4
| H-3 | Level 2
| H-4 | Level 3
| C-1a | Level 4
| C-3 | Level 2
| C-4 | Level 2
| DHW-1b | Level 1
| E-12 | Level 4
| MC-9 | Level 1
Honeywell T9 Smart Thermostat (single thermostat) | H-1a | Level 1
| H-3 | Level 1
| H-4 | Level 2
| C-1a | Level 1
| C-3 | Level 2
| C-4 | Level 2
| MC-4 | Level 1
| MC-9 | Level 1
Honeywell T9 Smart Thermostat (multiple thermostats) | H-1a | Level 4
| H-3 | Level 1
| H-4 | Level 2
| C-1a | Level 4
| C-3 | Level 2
| C-4 | Level 2
| MC-4 | Level 1
| MC-9 | Level 1
Ecobee SmartThermostat (single thermostat) | H-1a | Level 1
| H-2a | Level 2
| C-1a | Level 1
| V-1a | Level 3
| E-12 | Level 4
| MC-3 | Level 3
| MC-4 | Level 2
| MC-9 | Level 2
| MC-13 | Level 3
| MC-25 | Level 2
| MC-29 | Level 2
| MC-30 | Level 3
Ecobee SmartThermostat (multiple thermostats) | H-1a | Level 4
| H-2a | Level 2
| C-1a | Level 4
| V-1a | Level 3
| E-12 | Level 4
| MC-3 | Level 3
| MC-4 | Level 2
| MC-9 | Level 2
| MC-13 | Level 3
| MC-25 | Level 2
| MC-29 | Level 2
| MC-30 | Level 3
Sunamp Thermino 150 e Heat Battery | H-1f | Level 3
| DHW-1a | Level 2
| C-1g | Level 2
| E-3 | Level 2
| E-8 | Level 3
| E-11 | Level 2
| MC-3 | Level 2
| MC-25 | Level 1
Ice Energy Ice Bear 20 | C-1g | Level 3
| C-4 | Level 3
| E-5 | Level 2
| MC-28 | Level 2
Steffes Comfort Plus Forced Air Furnace Model 4120 | H-1a | Level 1
| H-1f | Level 2
| H-2b | Level 1
| E-5 | Level 1
| MC-13 | Level 2
| MC-30 | Level 1
Bosch Greenstar 100-P Combi | H-1a | Level 1
| H-1c | Level 1
| H-2a | Level 1
| H-2d | Level 1
| H-3 | Level 1
| DHW-1a | Level 1
| DHW-1b | Level 2
| DHW-3 | Level 1
Daikin VRV IV S-Series | H-1a | Level 2
| H-1c | Level 2
| H-2b | Level 3
| C-1a | Level 2
| C-1b | Level 3
| C-1c | Level 2
| C-1d | Level 2
| C-1f | Level 2
| C-2a | Level 3
Danfoss ECL Comfort | H-1b | Level 2
| H-1c | Level 1
| H-1d | Level 3
| H-2a | Level 1
| H-2d | Level 3
| DHW-1a | Level 1
| DHW-1b | Level 1
| C-1b | Level 2
| C-1c | Level 2
| C-1d | Level 3
| C-1g | Level 1
| C-2a | Level 3
Belimo Energy Valve | H-1a | Level 2
| H-1b | Level 2
| H-1c | Level 2
| H-1d | Level 3
| H-2a | Level 1
| H-2b | Level 1
| H-2d | Level 1
| H-3 | Level 1
| DHW-1a | Level 1
| DHW-2b | Level 1
| C-1a | Level 2
| C-1b | Level 2
| C-1c | Level 2
| C-1d | Level 3
| C-2b | Level 2
| C-3 | Level 1
| V-1c | Level 4
Viessmann Vitocell 300-V | H-1f | Level 1
| DHW-1a | Level 1
| DHW-1b | Level 1
| DHW-1d | Level 1
Bosch Compress 7000i AW | H-1b | Level 3
| H-1c | Level 2
| H-2b | Level 3
| H-2d | Level 2
| H-4 | Level 3
| DHW-1b | Level 2
| C-2a | Level 3
| C-2b | Level 3
| C-3 | Level 4
| C-4 | Level 3
Grundfos MAGNA3 | H-1d | Level 4
| H-2a | Level 1
| H-3 | Level 1
| DHW-1a | Level 1
| DHW-1b | Level 1
| C-1d | Level 4
Bosch Thermotechnology - Bosch TR200 | H-3 | Level 3
| H-4 | Level 3
| MC-3 | Level 3
| MC-4 | Level 2
| MC-13 | Level 2
| MC-25 | Level 2
Daikin Altherma 3 | H-1a | Level 3
| H-1c | Level 2
| H-2b | Level 3
| H-4 | Level 4
| DHW-1a | Level 2
| DHW-2b | Level 3
| DHW-3 | Level 3
| C-1a | Level 3
| C-2a | Level 3
Fujitsu General Waterwaste | H-2a | Level 2
| H-2b | Level 2
| H-4 | Level 2
| DHW-1b | Level 2
| DHW-1d | Level 2
| DHW-2b | Level 2
Mitsubishi Electric PUMY-SP Series | C-1b | Level 3
| C-1d | Level 2
| C-1f | Level 1
| C-2a | Level 1
| C-2b | Level 1
Siemens RVD250-A district heating controller | H-1c | Level 2
| DHW-1a | Level 3
| DHW-1b | Level 3
| DHW-1d | Level 3
| MC-4 | Level 3
Apricus ETC-30 solar collector | DHW-1d | Level 2
Kamstrup Multical 603 | DHW-3 | Level 4
Panasonic FV-25ZY1G Energy Recovery Ventilator | V-1a | Level 4
| V-1c | Level 3
| V-2c | Level 1
| V-2d | Level 2
| V-3 | Level 2
| V-6 | Level 3
Broan AI Series 110 CFM Heat Recovery Ventilator | C-1a | Level 3
| V-1a | Level 4
| MC-13 | Level 1
Panasonic FV-10VE2 Intelli-Balance 100 Energy Recovery Ventilator | V-1a | Level 2
| V-1c | Level 3
| V-2d | Level 2
| V-3 | Level 2
| V-6 | Level 3
Fantech VHR 70R ES Fresh Air Appliance Heat Recovery Ventilator | V-1a | Level 2
| V-1c | Level 1
| V-2c | Level 1
| V-2d | Level 2
| V-3 | Level 2
| V-6 | Level 2
Lifebreath 155MAX Heat Recovery Ventilator | V-1a | Level 1
| V-1c | Level 1
| V-2c | Level 2
| V-2d | Level 1
| V-3 | Level 1
| V-6 | Level 2
Zehnder ComfoAir Flex 250 | V-1a | Level 3
| V-1c | Level 3
| V-2c | Level 2
| V-2d | Level 1
| V-3 | Level 3
| V-6 | Level 1
Lutron Caséta Wireless Smart Lighting Kit (manual dimming) | L-1a | Level 1
| L-2 | Level 1
| MC-9 | Level 1
Lutron Caséta Wireless Smart Lighting Kit (automatic dimming) | L-1a | Level 1
| L-2 | Level 2
| MC-9 | Level 1
Schneider Electric Clipsal C-Bus | L-1a | Level 3
| L-2 | Level 4
| MC-9 | Level 1
| MC-30 | Level 2
ABB 6131/31-24-500 Busch-Presence detector premium | H-1a | Level 3
| C-1a | Level 3
| L-1a | Level 2
| L-2 | Level 2
| V-6 | Level 1
| MC-9 | Level 1
Somfy Animeo IB+ 4 AC Motor Controller (without sensors) | DE-1 | Level 1
| DE-4 | Level 1
Somfy Animeo IB+ 4 AC Motor Controller (with sun sensors) | DE-1 | Level 2
| DE-4 | Level 3
Somfy Animeo IB+ 4 AC Motor Controller (with window sensors) | DE-1 | Level 1
| DE-2 | Level 1
| DE-4 | Level 2
Somfy Animeo IB+ 4 AC Motor Controller (with window & temperature sensors) | DE-1 | Level 1
| DE-2 | Level 2
| DE-4 | Level 3
Somfy Animeo IB+ 4 AC Motor Controller (with sun, window, temperature, and occupancy sensors) | DE-1 | Level 4
| DE-2 | Level 3
| DE-4 | Level 4
Sense Energy Monitor | E-2 | Level 2
| E-12 | Level 1
Efergy Elite Classic | E-12 | Level 3
| V-6 | Level 2
Residential Photovoltaic System: Kostal Plenticore Plus 3 Inverter + Trina Solar TSM375DEO8M.08 Photovoltaic Panels | E-2 | Level 3
| E-4 | Level 2
| MC-25 | Level 1
| MC-28 | Level 2
| MC-29 | Level 1
Residential Photovoltaic System with Storage: Kostal Plenticore Plus 3 Inverter + Trina Solar TSM375DEO8M.08 Photovoltaic Panels + LG Energy Solution Enblock FLEX 8.6 kWh Battery Storage System | E-2 | Level 3
| E-3 | Level 3
| E-4 | Level 2
| E-8 | Level 1
| E-11 | Level 4
| MC-25 | Level 1
| MC-28 | Level 2
| MC-29 | Level 1
Residential Photovoltaic System with Storage: Kostal Plenticore Plus 3 Inverter + Trina Solar TSM375DEO8M.08 Photovoltaic Panels + LG Chem RESU 10 kWh Battery Storage System | E-2 | Level 3
| E-3 | Level 2
| E-4 | Level 3
| E-8 | Level 2
| E-11 | Level 4
| MC-25 | Level 2
| MC-28 | Level 2
| MC-29 | Level 4
Residential Photovoltaic System with Storage: Kostal Plenticore Plus 3 Inverter + Trina Solar TSM375DEO8M.08 Photovoltaic Panels + Enphase Encharge 10kWh Battery Storage System | E-2 | Level 3
| E-3 | Level 4
| E-4 | Level 3
| E-8 | Level 3
| E-11 | Level 3
| MC-25 | Level 2
| MC-28 | Level 2
| MC-29 | Level 4
Residential Photovoltaic System with Storage: Kostal Plenticore Plus 3 Inverter + Trina Solar TSM375DEO8M.08 Photovoltaic Panels + LG Chem RESU 6.5 kWh Battery Storage System | E-2 | Level 3
| E-3 | Level 1
| E-4 | Level 3
| E-8 | Level 2
| E-11 | Level 1
Residential Photovoltaic System: Fronius Symo 3.0-3 Inverter + Trina Solar TSM375DEO8M.08 Photovoltaic Panels | E-2 | Level 1
| E-3 | Level 1
| MC-28 | Level 1
Kostal Wallbox EV charger | EV-15 | Level 4, if the examined asset is a single-family house
Level 3, if the examined asset is a small multi-family house or non-residential
Level 2, if the examined asset is a large multi-family house or non-residential
| EV-16 | Level 1
| EV-17 | Level 2
Electric Car Charger Type 2 - Schuko (220V) | EV-15 | Level 1
| EV-17 | Level 1
Wallbox Quasar bidirectional EV charger | EV-15 | Level 4, if the examined asset is a single-family house
Level 3, if the examined asset is a small multi-family house or non-residential
Level 2, if the examined asset is a large multi-family house or non-residential
| EV-16 | Level 2
| EV-17 | Level 2
| MC-29 | Level 3
Siemens RDF600KN Flush mount KNX room thermostat | H-1a | Level 3
| C-1a | Level 3
Siemens RDS110 Smart Room Thermostat | H-1a | Level 4
| C-1a | Level 4
Siemens RVL482 Heating controller for boiler temperature control for modulating or 2-stage burners with d.h.w. heating | H-1a | Level 2
| H-2a | Level 2
| H-2b | Level 2
| DHW-1a | Level 3
| DHW-1b | Level 3
| DHW-1d | Level 3
Siemens RMU710B-1 Universal controller | H-1c | Level 2
| H-2d | Level 4
| C-1c | Level 2
| C-2a | Level 2
| C-2b | Level 4
| DHW-2b | Level 4
| V-1a | Level 4
| V-1c | Level 3
| V-2c | Level 2
| V-2d | Level 3
Siemens UH50-A74-00 Ultrasonic heat meter, RS-485(MS/TP) BACnet module, WZU5- 2815 pair of temperature sensors | H-3 | Level 4
| C-3 | Level 4
| DHW-3 | Level 4
Siemens G120P-3/35B Variable Speed Drive, G120P-IP55-PAN-EXT, G120P-AIRSHEET-FSA, G120P-IOP-2-BT Intelligent operator panel | H-1d | Level 3
| C-1d | Level 3
| C-2a | Level 2
Siemens WFW636.D110 Electronic impeller type hot water meter, M-bus radio communication, S-mode, WTT662-BA1100 Network node | DHW-3 | Level 2
Siemens UP258D51 Presence Detector WIDE multi with temperature, humidity, and CO2 measurement, IR remote control | H-1a | Level 3
| C-1a | Level 3
| L-1a | Level 4
| L-2 | Level 4
| V-6 | Level 1
Siemens RLM162 Air duct temperature controller | V-1a | Level 2
| V-1c | Level 3
| V-2d | Level 4
Siemens N543D51 Solar protection actuator, 8xAC230V, 6A, with end position detection | DE-1 | Level 3
| DE-2 | Level 3
EcoStruxure Panel Server – universal wireless, concentrator Modbus gateway 110-277 VAC/DC, iEM3155 energy meter -63A- Modbus | E-2 | Level 4
| E-4 | Level 3
| E-8 | Level 1
| E-11 | Level 4
| E-12 | Level 2